## Slide 1
The Non-Profit Outpatient Medical Facility
Tena Pettit | Lighting + Electrical
Southern California

## Slide 6
love of life or living systems
Medical Staff
benefits
Family + Community Benefits
Patients with View
Patients without View
7.96 days
Wellness Increase
Less painkillers
Overall Improved experience
15%
15%
6%
8.71 days
Productivity Increase
Creativity Increase
Reduces
Stress + Anxiety
Biophilia
Patient
benefits

## Slide 7
healthy building = healthy environment = healthy people

## Slide 8
Project Statistics
Location | Southern California
Site Size | 216,970 SF
Building Size | 4 stories, 105,000 SF
Architect | HOK
Lighting Designer | HLB Lighting Design
Electrical Engineer | DPB Engineers, Inc.
Overall Project Cost | $90 million
Date Completed | October 2017
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
The Building
The Non-Profit Outpatient Medical Facility
Lighting Design
Daylighting Design
Lighting Design
Lighting Design

## Slide 9
Lobby Space
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
The Building
Integrated + Sustainable Breadths
The Non-Profit Outpatient Medical Facility
Lighting Design
Daylighting Design
Lighting Design
Lighting Design

## Slide 10
Water
Materials
Lobby Space
Nurse Station
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Integrated + Sustainable Breadths
Place
Energy
Equity
Beauty
Civilized Environment
Biophilic Environment
Universal Access to Nature + Place
Inspiration + education
Beauty + Spirit
The Non-Profit Outpatient Medical Facility
Health + Happiness

## Slide 11
Lobby Space
Nurse Station
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Integrated + Sustainable Breadths
Place
Equity
Beauty
Civilized Environment
Biophilic Environment
Universal Access to Nature + Place
Inspiration + education
Beauty + Spirit
The Non-Profit Outpatient Medical Facility
Health + Happiness

## Slide 12
Air
Water
Nourishment
Light
Fitness
Comfort
Mind
Lobby Space
Nurse Station
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Integrated + Sustainable Breadths
The Non-Profit Outpatient Medical Facility

## Slide 13
Nourishment
Light
Fitness
Mind
Lobby Space
Nurse Station
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Integrated + Sustainable Breadths
The Non-Profit Outpatient Medical Facility

## Slide 14
Nourishment
Light
Fitness
Mind
Place
Human Powered Living
Health + Happiness
Civilized Environment
Biophilic Environment
Equity
Universal Access to Nature + Place
Beauty
Inspiration + education
Beauty + Spirit
Lobby Space
Nurse Station
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Integrated + Sustainable Breadths
The Non-Profit Outpatient Medical Facility

## Slide 15
The Lobby
Lighting Design +
Daylighting Analysis

## Slide 16
First Level
Second Level
Lighting Design
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
The Non-Profit Outpatient Medical Facility

## Slide 17
East View Lighting Design
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
The Non-Profit Outpatient Medical Facility
Light
Nourishment
Fitness
Human Powered Living
Beauty + Spirit
Universal Access to Nature + Place
Civilized Environment
Mind
Biophilic Environment

## Slide 18
West View Lighting Design
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
The Non-Profit Outpatient Medical Facility
East View Lighting Design

## Slide 19
First Level
Second Level
Luminaire Selection
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
The Non-Profit Outpatient Medical Facility

## Slide 20
Title 24 LPD Criteria
Space | Illuminance Level [hor] | Average Illuminance Level [hor] Calculated | Met Criteria?
General Lobby [1st + 2nd Floors] | 20 fc | 36 fc | Yes
First Floor Table Surfaces | 30 fc | 31 fc | Yes
Main staircase | 10 fc | 12 fc | yes
Met Criteria
IES Design Criteria
LPD Allowance: 1.5 W/SF
LPD Calculated: 0.89 W/SF
Design Solution
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
The Non-Profit Outpatient Medical Facility
LLF: 0.8

## Slide 21
Daylighting
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
The Non-Profit Outpatient Medical Facility

## Slide 22
Site Orientation
Daylighting Scope
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
The Non-Profit Outpatient Medical Facility

## Slide 23
Daylight Autonomy [DA]
Annual Sunlight Exposure [ASE]
Energy Usage +
Solar Heat Gain Analysis
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
Light
Daylight Analysis
Civilized Environment
The Non-Profit Outpatient Medical Facility

## Slide 24
Base Case
Case Study 1 - Vertical Louvers
Case Study ii - Horizontal Louvers
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
Model Scenarios
Software: SketchUp
The Non-Profit Outpatient Medical Facility

## Slide 25
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
Base Case
Case Study 1 - Vertical Louvers
Case Study ii - Horizontal Louvers
Daylight Autonomy
Software: Licaso
The Non-Profit Outpatient Medical Facility

## Slide 26
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
Annual Sunlight Exposure
Base Case
Case Study 1 - Vertical Louvers
Case Study ii - Horizontal Louvers
Software: Licaso
The Non-Profit Outpatient Medical Facility

## Slide 27
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
Glazing System Design
Base Case
Case Study 1 - Vertical Louvers
Case Study ii - Horizontal Louvers
Software: Licaso
The Non-Profit Outpatient Medical Facility
Glazing System | Double Low Solar Low-E Clear [air]
Visual Transmittance | 0.701
Solar Heat Gain Coefficient [SHGC] | 0.382
U-Factor | 0.291
Glazing System | Double Glazed Triple Solar Low-E [argon]
Visual Transmittance | 0.638
Solar Heat Gain Coefficient [SHGC] | 0.272
U-Factor | 0.283

## Slide 28
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
Software: COMFEN5
Cooling
fans
lighting
Heating
Energy Usage
The Non-Profit Outpatient Medical Facility
Façade Heat Gain
Base Case
Vertical Louvers
Horizontal Louvers
Glazing System Design

## Slide 29
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
Glazing System Design
Base Case
Case Study 1 - Vertical Louvers
Case Study ii - Horizontal Louvers
Software: Licaso
The Non-Profit Outpatient Medical Facility
Glazing System | Double Low Solar Low-E Clear [air]
Visual Transmittance | 0.701
Solar Heat Gain Coefficient [SHGC] | 0.382
U-Factor | 0.291
Glazing System | Double Glazed Triple Solar Low-E [argon]
Visual Transmittance | 0.638
Solar Heat Gain Coefficient [SHGC] | 0.272
U-Factor | 0.283

## Slide 30
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
The Non-Profit Outpatient Medical Facility
Results
 | Base Case | Case Study I - Vertical Louvers | Case Study II - Horizontal Louvers
Façade Appearance | 1 | 2 | 3
Illuminance Levels | 1 | 2 | 3
Illuminance Effects | 1 | 3 | 2
DA | 1 | 1 | 1
ASE | 3 | 2 | 1
Energy Usage | 3 | 2 | 1
Average Window Heat Gain | 3 | 2 | 1
Façade Heat Gain | 3 | 2 | 1
Totals | 16 | 16 | 13

## Slide 31
Integrated + Sustainable Breadths
Nurse Station
Patient Room
Electrical Depth
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Lobby Space
Daylighting Design
Lighting Design
Results + Redesign
 | Base Case | Case Study I - Vertical Louvers | Case Study II - Horizontal Louvers
Façade Appearance | 1 | 2 | 3
Illuminance Levels | 1 | 2 | 3
Illuminance Effects | 1 | 3 | 2
DA | 1 | 1 | 1
ASE | 3 | 2 | 1
Energy Usage | 3 | 2 | 1
Average Window Heat Gain | 3 | 2 | 1
Façade Heat Gain | 3 | 2 | 1
Totals | 16 | 16 | 13
The Non-Profit Outpatient Medical Facility

## Slide 32
Nurse Station
Lighting Design

## Slide 33
Fourth Level
Integrated + Sustainable Breadths
Lobby Space
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Nurse Station
The Non-Profit Outpatient Medical Facility

## Slide 34
Circadian Rhythm + Lighting
Integrated + Sustainable Breadths
Lobby Space
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Nurse Station
The Non-Profit Outpatient Medical Facility
Circadian Rhythm
Biological rhythm in humans + animals that repeats approximately every 24 hours, acting as an internal clock
that synchronizes vital physiological functions
Duration, Time, Illuminance Quantity, Spectrum

## Slide 35
Circadian Rhythm + Lighting
Integrated + Sustainable Breadths
Lobby Space
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Nurse Station
The Non-Profit Outpatient Medical Facility
Circadian Rhythm
Biological rhythm in humans + animals that repeats approximately every 24 hours, acting as an internal clock
that synchronizes vital physiological functions
WELL Light Concept
Circadian Stimulus Metric
Percentage of melatonin suppression over a 1-hour light exposure as a means to quantify circadian stimulation
Lighting Research Center
Equivalent Melanopic Lux
Lux measurement weighted to the ipRGCs in the retina as a means to measure the biological effects of light on humans
Duration, Time, Illuminance Quantity, Spectrum

## Slide 36
Integrated + Sustainable Breadths
Lobby Space
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Nurse Station
The Non-Profit Outpatient Medical Facility
Lighting Research Center Model Study On Circadian Rhythm Lighting
Overhead
Wall Washing Option 1
Wall Washing Option 1I
100% output
4:00 AM to 7:00 AM
1:00 AM to 4:00 AM
10:00 PM to 1:00 AM
4:00 PM to 10:00 PM
1:00 PM to 4:00 PM
7:00 AM to 1:00 PM
100% output
75% output
50% output
100% output
50% output
100% output
75% output
50% output
100% output
50% output

## Slide 37
Integrated + Sustainable Breadths
Lobby Space
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Nurse Station
The Non-Profit Outpatient Medical Facility
Overhead
100% output
Wall Washing Option 1
100% output
75% output
50% output
100% output
50% output
4:00 AM to 7:00 AM
1:00 AM to 4:00 AM
10:00 PM to 1:00 AM
4:00 PM to 10:00 PM
1:00 PM to 4:00 PM
7:00 AM to 1:00 PM
Lighting Research Center Model Study On Circadian Rhythm Lighting

## Slide 38
Integrated + Sustainable Breadths
Lobby Space
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Nurse Station
The Non-Profit Outpatient Medical Facility
Light
Beauty + Spirit
Mind
Biophilic Environment

## Slide 39
Luminaire Selection
Rotated Plan
Elevation
Nurse Station
Integrated + Sustainable Breadths
Lobby Space
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Nurse Station
The Non-Profit Outpatient Medical Facility

## Slide 40
Title 24 LPD Criteria
Met Criteria
IES + LRC Design Criteria
LPD Allowance: 1.2 W/SF
LPD Calculated: 1.2 W/SF
Design Solution
Space | Illuminance Level [hor] | Average Illuminance Level [hor] Calculated | Met Criteria? | Illuminance Level [vert] | Average Illuminance Level [vert] calculated | Met criteria?
Work Surface | 50 fc | 54 fc | Yes | 20 fc | 16 fc | no
General Circulation | 30 fc | 35 fc | Yes | 20 fc | 16 fc | no
Integrated + Sustainable Breadths
Lobby Space
Patient Room
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Nurse Station
The Non-Profit Outpatient Medical Facility
LLF: 0.8

## Slide 41
Patient Room
Lighting Design

## Slide 42
Fourth Level
Modified Design
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility

## Slide 43
Patient Examination + Charting
Family Visits + General Circulation
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility
Patient Reading

## Slide 44
Patient Examination + Charting
Control Zone 1
Control Zone 1I
Family Visits + General Circulation
Control Zone 1II
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility
Patient Reading

## Slide 45
Patient Examination + Charting
Control Zone 1
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility

## Slide 46
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility
Patient Reading
Control Zone 1I

## Slide 47
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility
Family Visits + General Circulation
Control Zone 1II

## Slide 48
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility
Light
Beauty + Spirit
Mind
Biophilic Environment

## Slide 49
Luminaire Selection
Rotated Plan
Elevation
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility

## Slide 50
Space | Illuminance Level [hor] | Average Illuminance Level [hor] Calculated | Met Criteria? | Illuminance Level [vert] | Average Illuminance Level [vert] calculated | Met criteria?
Patient Examination | 50 fc | 57 fc | Yes | 20 fc | 24 fc | Yes
Patient Reading | 40 fc | 57 fc | Yes | 20 fc | 24 fc | Yes
Charting | 30 fc | 34 fc | Yes | 15 fc | 24 fc | Yes
Family | 15 fc | 25 fc | Yes | 15 fc | 24 fc | Yes
General Circulation | 10 fc | 23 fc | Yes | 15 fc | 24 fc | Yes
Design Solution
Title 24 LPD Criteria
Met Criteria
IES + LRC Design Criteria
LPD Allowance: 1.2 W/SF
LPD Calculated: 1.2 W/SF
Patient Examination + Charting
Control Zone 1
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility
LLF: 0.8

## Slide 51
Design Solution
Patient Reading
Control Zone 1I
Pink = 75% output
Blue = 60 % output
Space | Illuminance Level [hor] | Average Illuminance Level [hor] Calculated | Met Criteria? | Illuminance Level [vert] | Average Illuminance Level [vert] calculated | Met criteria?
Patient Reading | 40 fc | 42 fc | Yes | 20 fc | 12 fc | no
Title 24 LPD Criteria
Met Criteria
IES + LRC Design Criteria
LPD Allowance: 1.2 W/SF
LPD Calculated: 1.2 W/SF
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility
LLF: 0.8

## Slide 52
Design Solution
Patient Room
Space | Illuminance Level [hor] | Average Illuminance Level [hor] Calculated | Met Criteria? | Illuminance Level [vert] | Average Illuminance Level [vert] calculated | Met criteria?
Family | 15 fc | 17 fc | Yes | 15 fc | 11 fc | no
General Circulation | 10 fc | 15 fc | Yes | 15 fc | 11 fc | no
Family Visits + General Circulation
Control Zone 1II
blue = 60% output
red = 40% output
Title 24 LPD Criteria
Met Criteria
IES + LRC Design Criteria
LPD Allowance: 1.2 W/SF
LPD Calculated: 1.2 W/SF
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Electrical Depth
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
The Building
Lighting Design
Patient Room
The Non-Profit Outpatient Medical Facility
LLF: 0.8

## Slide 53
Electrical Depth
Back-Up Emergency Power

## Slide 54
Life Safety Branch
Critical Branch
Equipment Branch
HealthCare Back-Up Power Systems
Normal Power
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Patient Room
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Electrical Depth
1
2
3
4
The Non-Profit Outpatient Medical Facility
Power for direct patient care
Egress lighting
Fire alarm + pump systems
Elevator car lighting + control systems
Emergency voice + alarm Comm Systems
Medical Gas Alarms
Medical Equipment Loads
Medical gas equipment
Operating room HVAC systems
Heating for patient rooms
Cooling for data rooms
Other optional loads
Emergency
Legally required standby
Optional standby

## Slide 55
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Patient Room
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Electrical Depth
The Non-Profit Outpatient Medical Facility
Existing Back-up Power Conditions
50A transfer
switch
Portable
Generator
480/277V, 3 phase, 4 wire
20,464 VA of Refrigeration back-up

## Slide 56
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Patient Room
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Electrical Depth
The Non-Profit Outpatient Medical Facility
Critical Branch
Equipment Branch
2
3
4
Legally required standby
Optional standby
Life Safety Branch
Emergency
General Egress Lighting
General Circulation Lighting
Elevator lighting, Receptacles, + Motor
Motorized + Roll up Doors
Mechanical fire + Smoke Dampers
BIM System
Paging Systems
Sound Masking Systems
Security System
Medical Gas Alarms + manifold
3rd + 4th Floor Nurse Station Lighting
3rd + 4th Patient Lighting
Refrigeration
Server Racks
UPS System
Existing Back-up Power Conditions
Normal Power
1

## Slide 57
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Patient Room
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Electrical Depth
The Non-Profit Outpatient Medical Facility
First Floor
Second Floor
Third Floor
Fourth Floor
Redesigned Back-up Power Conditions

## Slide 58
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Patient Room
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Electrical Depth
The Non-Profit Outpatient Medical Facility
Redesigned Back-up Power Conditions

## Slide 59
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Patient Room
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Electrical Depth
The Non-Profit Outpatient Medical Facility
First Floor
Redesigned Back-up Power Conditions

## Slide 60
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Patient Room
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Electrical Depth
The Non-Profit Outpatient Medical Facility
Redesigned Back-up Power Conditions

## Slide 61
Integrated + Sustainable Breadths
Lobby Space
Nurse Station
Patient Room
Lighting Design
Daylighting Design
Concluding Thoughts
Lighting Design
Lighting Design
The Building
Electrical Depth
The Non-Profit Outpatient Medical Facility
100 kVA Generator
Redesigned Back-up Power Conditions

## Slide 63
Acknowledgements
Dr. Houser, Dr. Mistrick, + Rich Koval
Mom + Dad
family + friends
L/E Class

## Slide 64
Thank You!